2 CLASSES OF FIRES

VOCABULARY

| 1. to denote | – обозначать, означать |
| --- | --- |
| 2. liquefiable | – сжижаемый |
| 3. to reach | – достигать |
| 4. suitable | – подходящий, годный |
| 5. extinction | – тушение пожара |
| 6. compound | – соединение, смесь; составной, сложный |
| 7. to take place | – происходить |
| 8. jet | – компактная струя |
| 9. spray | – водяная пыль (распыленная струя) |
| 10. to choose | – выбирать |
| 11. to cool cooling | – охлаждать – охлаждающий; охлаждение |
| 12. quantity | – количество |
| 13. sand | – песок |
| 14. foam | – пена |
| 15. vaporizing | – парообразующий |
| 16. blanketing | – покрытие, покров |
| 17. dry powder | – сухой порошок |
| 18. live | – находящийся под напряжением |
| 19. exception | – исключение |
| 20. nozzle | – насадок, ствол |
| 21. electrically dead | – обесточенный |
| 22. to apply | – применять, употреблять, обращаться |
| 23. available | – имеющийся в распоряжении |
| 24. flexible | – гибкий, податливый |
| 25. to decompose | – разлагаться, |
| 26. to liberate | – освобождать |
| 27. to aggravate | – ухудшать |

CLASSIFICATION OF FIRES

In firefighting, fires are identified according to one or more fire classes. Each class designates the fuel involved in the fire, and thus the most appropriate extinguishing agent. Multiple classification systems exist in different countries.

The United States uses the NFPA (National Fire Protection Organisation) system. The NFPA defines five classifications of fire, including classes A, B, C, D and K according to the nature of the combustible materials, the size and intensity of the fire and the substances which are the most suitable for their extinction.

Class A is the most common type of fire involving ordinary combustible materials such as wood, cloth, paper, rubber, and many plastics. This type of fire leaves an ash behind after burning and has an ember flame. The most common and the most effective extinguishing agent for them is generally water in the form of a jet or a spray. Water is used in a cooling or quenching effect to reduce the temperature of the burning material below its ignition temperature.

Class B fires are the ones involving liquids or liquefiable solids. A flammable liquid must be burning at room temperature in order to be a Class B fire, and a combustible liquid must be heated to its flammable point to be classified as Class B. Some flammable and combustible liquids included in this classification are petroleum, tars, oil-based paints, oil, alcohols, lacquers, solvents and flammable gases. For the purpose of choosing effective extinguishing agents, flammable liquids may be divided into two groups:

– those that are extinguished with water;

– those that are not extinguished with water.

Depending on a liquid, the extinguishing agents include water spray, foam, vaporizing liquids, carbon dioxide and dry powder. Blanketing is the most suitable method of extinguishment of this class of fires.

A Class C fire is a fire that can be classified as an A or B fire, but that involves electrical equipment as well. Extinguishing agents should not be conductors of electricity. Water and foam are both conductors of electricity and should not be used on live electrical equipment, but in some circumstances an exception may be made in favour of a spray from specially designed nozzles. It is not always possible to extinguish a fire without using the cooling effect of a large quantity of water. In such cases equipment must be made electrically dead before jets of water are applied in order to avoid the danger of shock.

Class D fires are ones involving combustible metals such as magnesium, titanium, lithium, zirconium, sodium, and potassium. Extinguishing agents containing water are ineffective and even dangerous. A Class D fire burns at an exceptionally high temperature, and when water is used on these types of fires it can decompose into hydrogen and oxygen aggravating the fire. Special extinguishing agents such as sodium chloride, carbon dioxide, dry sand or salt are available for the fire control specifically for each metal.

Class K is the newest NFPA classification of fire. This classification includes cooking appliances that involve a combustible medium such as cooking oil, other fats and alcohols. Though such fires are technically a subclass of class B, the special characteristics of these types of fires are considered important enough to recognize separately. Saponification can be used to extinguish such fires.

1. Match the words with similar meanings.

| 1) to apply | A) to put out |
| --- | --- |
| 2) agent | B) to aggravate |
| 3) very | C) ingredient |
| 4) various | D) extinction |
| 5) to extinguish | E) appliance |
| 6) part | F) to involve |
| 7) equipment | G) to use |
| 8) to intensify | H) different |
| 9) to include | I) medium |
| 10) extinguishment | J) extremely |

2. Match the words with opposite meanings.

| 1) solid | A) liquid |
| --- | --- |
| 2) to compose | B ignition |
| 3) dead | C) to exclude |
| 4) extinction | D) live |
| 5) to include | E) to heat |
| 6) different | F) to decompose |
| 7) to aggravate | G) wet |
| 8) dry | H) to improve |
| 9) to cool | I) safe |
| 10) dangerous | j) the same |

3. Match the words to the definitions.

| 1) foam | A) a very small drops of liquids that are sent through air |
| --- | --- |
| 2) powder | B) covering something completely with a thick layer |
| 3) nozzle | C) a narrow piece at the end of a hose, pipe |
| 4) jet | D) any dry substance in the form of fine, dustlike particles |
| 5) spray | E) a strong narrow stream of liquid |
| 6) blanketing | F) the grey or black powder that is left after something has burnt |
| 7) live | G) mass of very small air bubbles on the surface of a liquid |
| 8) ash | H) a substance that flows freely, e.g. water or oil |
| 9) liquid | I) a substance or an object that is hard or firm |
| 10) solid | J) connected to a source of electrical power |